Introduction
The precision of isotope ratio measurements by Secondary Ion Mass Spectrometry (SIMS) is limited by the randomness associated with the two principal stages of the measurement: (i) generation of secondary ions during the interrogation of the analytical substrate by the primary ion beam, and (ii) detection of the secondary ions with the detection devices. To partially circumvent this limitation, secondary ions emitted from a specific point on the analytical substrate are accumulated over extended time intervals (over so-called “measurement cycles”) while recording secondary ion count data as well as auxillary metadata about the status of the instrument (e.g., secondary ion optics, mass spectrometer, primary ion beam intensity). This output is exported in three types of data files (extensions `chk_is`, `stat`, and `is_txt`) and saved in a folder specified by the user, as shown in the figure below (the data is available in the folder [inst/extdata/2018-01-19-GLENDON/]).
```{r workflow-graph, out.width="100%", echo=FALSE, caption=”An example of an output generated by the Cameca NanoSIMS 50L instrument during the measurement of the ^13^C/^12^C isotope ratio in three spots on the substrate. Three data files are generated for each analysed spot.”}
knitr::include_graphics("man/figures/nanoSIMS50L_output.png")
```
Although the proprietary software supplied by Cameca makes it easy and relatively straight-forward to process and analyse the ion count data and metadata generated during the measurement, the exact details behind these actions are hidden away. The aim of the R-package *point* is to provide more transparency and, ultimately, more control over the steps involved in the analysis of this type of data. Foremost, the *point* package enables controlling ion count corrections related to systematic biases which are linked to the detection systems. Furthermore, it allows sub-setting or collating of analyses to calculate internal or external precision of the measurements. Finally, and perhaps most importantly, it provides diagnostic tools for evaluating the internal consistency of the ion count ratios, which can be used to identify factors responsible for the variation in the detected isotope ratio during the measurement, such as sample heterogeneity or instrument instability. Further details behind these features are described in the accompanying vignettes.
Terminology
Here we define the terminology and notation used throughout this documentation. The main objective of these definitions is to prevent ambiguity when using words such as sample, substrate, analysis, measurement, ion generation, ion detection, ion count, etc.
- *analytical substrate*, or just *substrate*, is the physical sample (e.g., a piece of rock, a biological tissue, cells) analyzed by the SIMS measurement.
- *sample* refers to a set of individual objects collected when estimating a particular characteristic of a population through statistical analysis.
- *event* refers to a single instance of a secondary ion hitting the detector.
- *measurement* refers to a number of events recorded by the instrument when detecting secondary ions of a particular chemical species (e.g., ^12^C^-^) during the *single counting cycle*. We denote it as $N_i$, where the subscript $i$ indicates the order of a particular measurement in a series of measurments (see next).
- *analysis* refers to a series of $n$ measurements in a specific point (or, more precisely, a spot) on the substrate. We denote it as $M_j$, where the subscript $j$ refers to the point $j$ on the substrate. Analysis is conducted to minimize the uncertainty with which the abundance of a particular chemical species in the measured point is estimated.
- *study* refers to a series of $m$ analyses conducted in multiple points across the surface of the same substrate or even across multiple substrates. We denote it as $M_{(j)}$. Typically, a study is conducted to assess heterogeneity within a substrate or differences among multiple substrates.
To summarise:
- *sample*: sample of the true population (in the statistical sense);
- *analytical substrate*: a physical sample analyzed by SIMS;
- *event*: a single instance of a secondary ion hitting the detector;
- *measurement*: number of events detected during a single counting cycle, $N_i$
- *analysis*: a series of $n$ measurements in point $j$, $M_j = N_{(i)}$
- *study*: a series of $m$ analyses across multiple points on a substrate or across multiple substrates, $M_{(j)}$
For convenience, this summary is included at the beginning of each vignette.

The point workflow
The most basic work-flow consists of three steps:
Loading the machine generated raw ion counts and collating them into a dataframe (tibble) with the function read_IC().
Correcting the raw ion count data for systematic biases related to the detection device with the function cor_IC().
Calculating statistics that inform about the impact of random biases on the precision of the analysis or study with the function stat_X() for single ions and stat_R() for isotope ratios.
Performing diagnostics in order to detect intra- and inter-isotope variability is at the heart of the point package, and is contained in the function diag_R()
The following publication is a prove of concept concerning the methods behind the diag_R() function:

Martin Schobben, Michiel Kienhuis, and Lubos Polerecky. 2021. New methods to detect isotopic heterogeneity with Secondary Ion Mass Spectrometry, preprint on Eartharxiv.